## Slide 1: Global audit on bowel perforations related to transanal irrigation exemplified by a balloon catheter system Christensen et al, Techniques in Coloproctology, 2015

## Slide 2: Global audit on bowel perforations related to transanal irrigation exemplified by a balloon catheter system
Background information
At the request of some of the doctors in our global advisory board, Coloplast agreed to give them unrestricted access to our safety database on PAI, in order to perform a safety audit review of all bowel perforation events that we have registered.
The authors
Dr.Peter Christensen (DK) is the main author. Other authors are Dr.Krogh (DK), Dr.Leder (DE), Dr.Perrouin-Verbe (FR), Dr.Bazzocchi (IT) and Dr.Emmanuel (UK). Dr.Birte P.Jakobsen (DKBIR) from Coloplast is also co-author.
The journal
The paper has been written by the authors and Coloplast was not involved in the data analysis nor choice of journal. The paper has been accepted in the journal Techniques in Coloproctology, where is published (online first) since Nov.19th
Key Findings from the Safety Audit
46 evaluable bowel perforations from 2005 to 2013. Average risk of perforation in the period of 6 ppm (6 x million irrigations)
Since 2012, the rate of perforation has been even lower, in the order of 2 ppm
Standard risk of perforation previously quoted (all irrigation devices) was in the range of 20 ppm. This means current estimated risk of perforation with PAI is about a factor of 10 times lower than that.
In comparison, the risk of perforation during flexible sigmoidoscopy is reported at 1/40.000 (25 ppm)
In 3 cases a fatal outcome was reported (patients death). Severe co-morbidity and off-label use were present in 2 of them. Not sufficient information was available on the third case.
Most cases (67%) happened during first 8 weeks, and the risk is not cumulative over time, which means that irrigation beyond 8 weeks bears an extremely low inherent risk (important for those patients that need a life-long treatment).
Overall conclusion: perforation is a rare complication to TAI with Peristeen, which increases the benefit risk ratio in support of the further use of transanal irrigation. The reported risk of perforation with Peristeen is considerably lower than the previously quoted risk of perforation for all irrigation systems and is not cumulative with long-term use.

## Slide 3: Introducing the clinical evidence
The paper, published in November 2015, confirms that bowel perforation is very rare. In total, 49 cases of bowel perforation have been reported with Peristeen Anal Irrigation. This corresponds to an average risk of bowel perforation of 2 per 1 million irrigation procedures.
“Early cases of perforations account for two out of three reports. These early cases could be considered ‘avoidable’ cases if patient selection and training were optimal”
“Careful patient selection, patient evaluation and proper training of patients are critical to safe practice of this technique”

## Slide 4: Global audit on bowel perforations related to transanal irrigation exemplified by a balloon catheter system
Dr.Peter Christensen (DK) is the main author. Other authors are Dr.Krogh (DK), Dr.Leder (DE), Dr.Perrouin-Verbe (FR), Dr.Bazzocchi (IT) and Dr.Emmanuel (UK)
Key Findings from the Safety Audit
46 evaluable bowel perforations from 2005 to 2013: average risk of perforation in the period of 6 ppm
Since 2012, the rate of perforation has been even lower, in the order of 2 ppm
Most cases (67%) happened during first 8 weeks, and the risk is not cumulative over time, which means that irrigation beyond 8 weeks bears an extremely low inherent risk.
NEW

## Slide 5: Global audit on bowel perforations related to transanal irrigation exemplified by a balloon catheter system
Standard risk of perforation previously quoted (all irrigation devices) was in the range of 20 ppm. What does it mean?
Current estimated risk of perforation with Peristeen is 10 times lower than that
Perforation is a rare complication to TAI with Peristeen, which increases the benefit risk ratio in support of the further use of transanal irrigation
2 per million
NEW